## Total Cash Flow
Sale Value | 17.67
Capex | 15.77
Opex | 1.9
Cost Price |  |  |  | Customer payment terms
IT | 5.54
NON-IT | 2.34 |  |  | Capex Payment Terms | 30% Advance, 40% Delivery, 25% Against Completion, 5% after DLP period 1 years
Implementation & PMC | 1.44 |  |  | Opex Payment Terms | 6 months advance, 6 months in arrears
Opex Cost | 1.44
Capex BG Cost for 2 years - 3% | 0.037848 |  |  | OEM Payment terms
ABG Cost (30% for 6 months) | 0.09462
O&M PG Cost - 10% of year with 3 years, 3 months | 0.0082333 |  |  | IT | 120 Days
Risk Cost - NON-IT/Insurance/PM Tools | 0.5 |  |  | Non-IT | Against delivery
Misc cost | 0.5
Frieght | 0.68
Total Cost | 12.5807
Interest | 0
Total Cost with Interest | 12.5807
Margin | 28.8%
Net Margin amount | 5.0893
[6 empty] | Interest | 0.01
Financial Year | Month | Cash Inflow |  | Cash outflow |  | Net Cash Flow
Total Inflow
FY | Month |  | Total Inflow |  | Total Outflow | Nett Cash | Interest | Net Cash Flow
2026 | Feb-26 | 4.731 | 4.731 | 0.29247 | 0.29247 | 4.4385 | 0 | 4.4385
2026 | Mar-26 |  | 0 | 2.5 | 2.5 | 1.9385 | 0 | 1.9385
2027 | Apr-26 | 6.308 | 6.308 | 1.84 | 1.84 | 6.4065 | 0 | 6.4065
2027 | May-26 |  | 0 | 0.16 | 0.16 | 6.2465 | 0 | 6.2465
2027 | Jun-26 |  | 0 | 5.7 | 5.7 | 0.54653 | 0 | 0.54653
2027 | 2026-07-01 |  | 0 | 0.16 | 0.16 | 0.38653 | 0 | 0.38653
2027 | 2026-08-01 |  | 0 | 0.16 | 0.16 | 0.22653 | 0 | 0.22653
2027 | 2026-09-01 |  | 0 | 0.16 | 0.16 | 0.066532 | 0 | 0.066532
2027 | 2026-10-01 | 3.9425 | 3.9425 | 0.16 | 0.16 | 3.849 | 0 | 3.849
2027 | 2026-11-01 | 0.31667 | 0.31667 | 0.048233 | 0.048233 | 4.1175 | 0 | 4.1175
2027 | 2026-12-01 |  | 0 | 0.04 | 0.04 | 4.0775 | 0 | 4.0775
2027 | 2027-01-01 |  | 0 | 0.04 | 0.04 | 4.0375 | 0 | 4.0375
2027 | 2027-02-01 |  | 0 | 0.04 | 0.04 | 3.9975 | 0 | 3.9975
2027 | 2027-03-01 |  | 0 | 0.04 | 0.04 | 3.9575 | 0 | 3.9575
2028 | 2027-04-01 |  | 0 | 0.04 | 0.04 | 3.9175 | 0 | 3.9175
2028 | 2027-05-01 |  | 0 | 0.04 | 0.04 | 3.8775 | 0 | 3.8775
2028 | 2027-06-01 |  | 0 | 0.04 | 0.04 | 3.8375 | 0 | 3.8375
2028 | 2027-07-01 |  | 0 | 0.04 | 0.04 | 3.7975 | 0 | 3.7975
2028 | 2027-08-01 |  | 0 | 0.04 | 0.04 | 3.7575 | 0 | 3.7575
2028 | 2027-09-01 |  | 0 | 0.04 | 0.04 | 3.7175 | 0 | 3.7175
2028 | 2027-10-01 | 0.7885 | 0.7885 | 0.04 | 0.04 | 4.466 | 0 | 4.466
2028 | 2027-11-01 | 0.63333 | 0.63333 | 0.04 | 0.04 | 5.0593 | 0 | 5.0593
2028 | 2027-12-01 |  |  | 0.04 | 0.04 | 5.0193 | 0 | 5.0193
2028 | 2028-01-01 |  |  | 0.04 | 0.04 | 4.9793 | 0 | 4.9793
2028 | 2028-02-01 |  |  | 0.04 | 0.04 | 4.9393 | 0 | 4.9393
2028 | 2028-03-01 |  |  | 0.04 | 0.04 | 4.8993 | 0 | 4.8993
2029 | 2028-04-01 |  |  | 0.04 | 0.04 | 4.8593 | 0 | 4.8593
2029 | 2028-05-01 |  |  | 0.04 | 0.04 | 4.8193 | 0 | 4.8193
2029 | 2028-06-01 |  |  | 0.04 | 0.04 | 4.7793 | 0 | 4.7793
2029 | 2028-07-01 |  |  | 0.04 | 0.04 | 4.7393 | 0 | 4.7393
2029 | 2028-08-01 |  |  | 0.04 | 0.04 | 4.6993 | 0 | 4.6993
2029 | 2028-09-01 |  |  | 0.04 | 0.04 | 4.6593 | 0 | 4.6593
2029 | 2028-10-01 |  |  | 0.04 | 0.04 | 4.6193 | 0 | 4.6193
2029 | 2028-11-01 | 0.63333 | 0.63333 | 0.04 | 0.04 | 5.2126 | 0 | 5.2126
2029 | 2028-12-01 |  |  | 0.04 | 0.04 | 5.1726 | 0 | 5.1726
2029 | 2029-01-01 |  |  | 0.04 | 0.04 | 5.1326 | 0 | 5.1326
2029 | 2029-02-01 |  |  | 0.04 | 0.04 | 5.0926 | 0 | 5.0926
2029 | 2029-03-01 |  |  | 0.04 | 0.04 | 5.0526 | 0 | 5.0526
2030 | 2029-04-01 |  |  | 0.04 | 0.04 | 5.0126 | 0 | 5.0126
2030 | 2029-05-01 |  |  | 0.04 | 0.04 | 4.9726 | 0 | 4.9726
2030 | 2029-06-01 |  |  | 0.04 | 0.04 | 4.9326 | 0 | 4.9326
2030 | 2029-07-01 |  |  | 0.04 | 0.04 | 4.8926 | 0 | 4.8926
2030 | 2029-08-01 |  |  | 0.04 | 0.04 | 4.8526 | 0 | 4.8526
2030 | 2029-09-01 |  |  | 0.04 | 0.04 | 4.8126 | 0 | 4.8126
2030 | 2029-10-01 |  |  | 0.04 | 0.04 | 4.7726 | 0 | 4.7726
2030 | 2029-11-01 | 0.31667 | 0.31667 |  | 0 | 5.0893 | 0 | 5.0893
2030 | 2029-12-01 |  |  |  | 0 | 5.0893 |  | 5.0893
TOTAL |  |  | 17.67 |  | 12.5807

## Summary
Solution : In-row Cooling solution with 08 IT racks
S.No. | Description | Total Price | Discovered Prices | Risks | Total
A | Supply, installation, testing and commissioning of Data Center IT infrastructure | 101826890 | 69839137 | 0 | 69839137
B | Supply, installation, testing and commissioning of Data Center non-IT infrastructure | 49066535.75 | 23398815 | 5000000 | 28398815
C | Freight & Insurance (for A and B) | 6800000 | 6800000 | 0 | 6800000
D | Hybrid Operation & Maintenance support for 3 years | 19058470 | 14400000 | 0 | 14400000
F | Total of A to D | 176751895.75 | 114437952 |  | 119437952
H | Grand Total | 176751895.75 |  | Misc Cost | 5000000
Terms & Conditions
Prices | 1.Prices are exclusive of all applicable taxes in India. The same will be charged seperately as per actuals. |  |  | Total | 124437952
| 2. The Prices are FOB Indian Port. Freight costs are mentioned separately for transportation by SEA. However, MEA need to provide all necessary documentation to facilitate export of these items. The local taxes and duties will be paid by MEA directly. |  |  | Margin | 29.6%
| 3. All invoices will be done to MEA, India inclusive of GST. |  |  | Net Margin Amount | 52313943.75
4. MEA shall provide all customs exemption document whatever applicable / requested by Freight forwarder and local customs authorities as per International rules and regulations.
5. Any local duties and taxes applicable at the transit / destination port will be paid on actuals by MEA. Should there be any details sought by the Ethiopian customs, MEA shall facilitate the discussion by sending local personnel as required to meet the authority.
6. MEA shall facilitate all visa and work permit for RailTel and its designated contractors through the project.
Project Execution | 1. MoFA Ethiopia will share their project plan for those activities which are entrusted to them like Civil, Electrical, Comfort cooling etc. Based on their projcect plan RailTel will plan its resources, deliveries of various items and installation. Accordingly, the deliveries will be done within 30 days from the date of site rediness by MoFA//Ethiopia as per RailTel's satisfaction. 2. Project shall be completed within 4 months from the date of receipt of goods at the destination or site rediness in terms of civil and Elctrical Infrastracture by MoFA Ethiopia whichever is later. 3. Any delay arising due to freight movements in international water or geo-political disturbances or site non-availability or local workmanship disturbances or situations beyond our ability to influence shall call for delay in execution of the project. 4. Railtel shall not be held accountable for delays attributed beyond its capacity.
Support | Comprehensive support for 3 years shall be given for all quoted items under RailTel's scope of supply. Make In India products do not carry international warranty as the distribution zones are still not established in international waters. For parts failures, Railtel undertakes to replace the items at its cost. However, MEA shall facilitate in the transportation of spares and customs exemption in such scenario.

## IT Components
IT Services for Data Center
SN | Item Description | Specifications | Unit | Qty | Rate per unit (INR) | Total Amount INR | Probable OEM | Unit Cost Ptice | Total Cost Price
1 | Server | 2 x 16 Core Processor, 512 GB RAM, 20TB SSD (60TB SSD Usable capacity across the all 6 nodes) | No | 6 | 3209570 | 19257420 | HPE/Nutanix | 27000000 | 27000000
14 | Virtualization (Cloud Application) | Hypervisor for Six Servers (Quantity will depend on OEM solution) | Lumsum | 1 | 13200000 | 13200000 | Nutanix
2 | Storage / Disaster Recovery Devices | NAS High Convergence Storage Total 240 TB NLSAS HDD Usable Storage (Used for Backup purpose) | No | 2 | 4710150 | 9420300 | NetAPP | 3250000 | 6500000
3 | Firewall (For Internet) with VPN Module | IPSec VPN throughput - 1 Gbps, Firewall throughput 10 Gbps, Threat prevention throughput - 1 Gbps with 36 Months Support & License, SSL VPN 10 Clients | No | 2 | 556310 | 1112620 | Fortinet | 450000 | 900000
4 | Firewall (For Intranet) with VPN Module | IPSec VPN throughput - 1 Gbps, Firewall throughput 10 Gbps, Threat prevention throughput - 1 Gbps with 36 Months Support & License, SSL VPN 200 Clients | No | 2 | 935310 | 1870620 | Fortinet | 500000 | 1000000
5 | Server Security with 3 Years Support | Protection Against Viruses and trojans Spyware and rootkits | No | 50 | 40000 | 2000000 | Seqrite | 10000 | 500000
6 | Backup Software with 3 Years Support | Backup Solution for DC | No | 1 | 1884060 | 1884060 | Veeam - 50 VMs | 1500000 | 1500000
7 | Router | Router throughput of 80Gbps, 8x10G ports and 4 x1G LAN ports with 36 Months Service & Support. Loaded with 6 10G LR and 2 10G SR interfaces | No | 2 | 1950000 | 3900000 | Arista | 7500000 | 7500000
8 | Core Switch | 48-port x 1/10/25G + 4-port 40/100G, with 36 Months Service & Support, minimum throughput 3.2 Tbps with 16 SR and 8 LR Transceivers | No | 2 | 2448900 | 4897800 | Arista
9 | WAN Switch | 24px1G/ 4x10G Uplink with 36 Months Service & Support with 2 LR optics | No | 2 | 285000 | 570000 | Arista
10 | Top Of Rack SW (TOR) | 24 x10G SFP+ ports with 36 Months Service & Support with SR Transceivers | No | 2 | 2248900 | 4497800 | Arista
11 | L2-Switch | 24x1G PoE+, 4 x 10G with 36 Months Service & Support | No | 3 | 125000 | 375000 | Arista
24 | L2-Switch | 24x1G PoE+, 4 x 10G with 36 Months Service & Support | No | 5 | 125000 | 625000 | Arista
12 | Network Accessories | 1. Network cabling for 8 racks includes Fiber OM4, Cat 6A Cable, Fibre Parch Cords, Patch Panels etc. 2. 2xTelco racks and PDUs | Lumsum | 1 | 3699790 | 3699790 | 3C3/R&M | 2100000 | 2100000
13 | Server Accessories | 8 Server Room IT racks | Lumsum | 1 | 1717640 | 1717640 | Netrack/Vertiv | 900000 | 900000
15 | SQL Licenses | MS Sql server Standard latest version (licence per 8 Core) | No | 2 | 1750000 | 3500000 | Microsoft | 1162972 | 2325944
16 | OS Licenses (Linux) | Redhat Data Center Licenses with 3 year standard support | No. | 3 | 665000 | 1995000 | Redhat | 539745 | 1619235
17 | OS Licenses(Windows) | MS Windows Server Datacenter latest version (License per 32 core) | No. | 3 | 1159430 | 3478290 | Microsoft | 997986 | 2993958
18 | Monitoring Solution | License per Virtual Machines | No. | 1 | 1000000 | 1000000 | Open NMS/Zabbix | 0
19 | Design, Installation, Testing Commissioning | Design, Installation, testing, commissioning and documentation of each subsystem | Lumsum | 1 | 21500000 | 21500000 |  | 14400000 | 14400000
20 | O&M Support for 3 Years | Comprehensive Support for all supplied items as above. | Lumsum | 1 | 0 | 0
21 | Migration of Existing Services | RailTel will provide only support during the migration activity . However the Migration activity will be done by MoFA team and any compatibility issue will be the responsibilty of MoFA. Support related to migrations is mentioned in the Migration support sheet | Lumsum | 1 | 0 | 0
22 | Workstation PC | Workstation PC with I7 processor, 16GB RAM and 1TB SSD, with 21 inch display | Nos | 3 | 325470 | 976410 | HPI | 125000 | 375000
23 | LED display | 55" LED display panels with HDMI connectivity & mounting brackets | Nos | 3 | 116380 | 349140 | Samsung/LG/Sony/Panasonic | 75000 | 225000
|  | TOTAL |  |  |  | 101826890 |  |  | 69839137

## Non-IT components
Non-IT Services for Data Center
S. No. | Item Descriotion | UOM | Qty | Unit Rate | Total Cost | Recommended Brands
[7 empty] | Unit Price | Total Price
1 | Civil and Interior works comprising of demolition works, construction of partition walls, Supply and installation of Fire rated doors, installation of vinyl flooring, DG foundation and miscellaneous works. | Lot | 1 | 9304500 | 9304500 |  | 4000000 | 4000000
2 | Supply and installation of furniture (worktable and chairs) for NOC room | Nos. | 3 | 88958 | 266874 |  | 44000 | 132000
5 | Supply, installation, testing and commissioning of 60kVA UPS : | Nos. | 2 | 4490000 | 8980000 | This item is to be procured by MoFA/Ethiopia. Preferred Brands: Vertiv/Legrand or similar reputed make. | 2250000 | 4500000
6 | Supply, installation, testing and commissioning of Electrical Panels : | Lot | 1 | 3450238 | 3450238 | Make in India with reputed Switchgear elements | 2132400 | 2132400
7 | Supply, installation and testing of Lighting system | Lot | 1 | 772280.5 | 772280.5 | Philips/Syska/Wipro etc. | 319410 | 319410
8 | Supply, installation, testing of Earthing system | Lot | 1 | 1001822.5 | 1001822.5 | Reputed Indian make | 568200 | 568200
9 | Supply of electrical safety aids | Lot | 1 | 526832 | 526832 | Reputed Indian make | 262000 | 262000
10 | Supply and installation of Cabling system for Data Centre including electrical switches and power sockets. | Lot | 1 | 4256009 | 4256009 | Reputed Indian make | 1500000 | 1500000
11 | Supply and installation of Mobile industrial sockets for IT racks. | Nos. | 20 | 15903 | 318060 | Reputed Indian make | 8000 | 160000
12 | Supply, installation, testing and commissioning of Inrow Cooling Units for the Server Room- 25kW | Nos. | 3 | 2900000 | 8700000 | Make in India Vertiv/Clima veneta or similar reputed make. | 1500000 | 4500000
13 | Supply, installation, testing and commissioning of comfort air conditioning system for Battery Room, Telco Room, Electrical Room and NOC | Lot | 1 | 1900010 | 1900010 | This item is to be procured by MoFA/Ethiopia | 760000 | 760000
14 | Supply, Installation, testing and commissioning of sequencers for ACs in Battery Room, Telco Room, Electrical Room | Nos. | 1 | 345515 | 345515 | This item is to be procured by MoFA/Ethiopia | 81750 | 81750
15 | Supply, installation, testing and commissioning of Fire Alarm System & VESDA | Lot | 1 | 1225832 | 1225832 |  | 631000 | 631000
16 | Supply, installation, testing and commissioning of clean agent based hand held fire extinguishers for Data Centre | Lot | 1 | 390238.5 | 390238.5 |  | 195000 | 195000
17 | Supply, installation, testing and commissioning of Gas based fire suppression system (NOVEC1230 or Equivalent for Server Room) | Lot | 1 | 2145276.75 | 2145276.75 |  | 965000 | 965000
18 | Supply, installation, testing and commissioning of Surveillance System | Lot | 1 | 830738.5 | 830738.5 | Reputed Indian make | 350150 | 350150
19 | Supply, installation, testing and commissioning of Access control system | Lot | 1 | 1016374 | 1016374 | Reputed Indian make | 511820 | 511820
20 | Supply, installation, testing and commissioning of Rodent Repellant System | Lot | 1 | 190009.5 | 190009.5 | Reputed Indian make | 91250 | 91250
21 | Supply, installation, testing and commissioning of Water leak detection system | Lot | 1 | 155467.5 | 155467.5 | Reputed Indian make | 77715 | 77715
22 | Supply, installation, testing and commissioning of BMS | Lot | 1 | 1995000 | 1995000 |  | 1014120 | 1014120
23 | Supply & Installation of Containment for the 8 racks with doors : | Set | 1 | 1295458 | 1295458 | Reputed Indian make | 647000 | 647000
| Total |  |  |  | 49066535.75
23398815

## Support 3 Years
SN | Item Description | Specifications | Unit | Qty | Rate per unit (INR) | Total Amount INR | Remarks | Monthly Salary and perdiem/other cost | Total Cost for three years
1 | Manpower Support for 3 Years (Onsite) | One Onsite L2 Engineer | Lumsum | 1 | 14280000 | 14280000 | One On Site Engineer | 300000 | 10800000
2 | Manpower Support for 3 Years (Offsite) | Two Offsite L2 Engineers for different domains (Cloud, Network & Security) | Lumsum | 1 | 4778470 | 4778470 | Offsite Support through Shared L2 Engineers | 100000 | 3600000
|  | TOTAL |  |  |  | 19058470
14400000

## Migration Support
Migration Assistance Related Activities
SI.No | Activities
Infrastructure setup and provisioning
1 | Facilitate to setup cloud or on-premises environments (servers, networking, storage)
2 | Sizing VM Details based on existing infrastructure
Data Migration Assitance - Limited
3 | Guidance on transferring databases, files or configurations.
4 | Providing recommendations for data migration tools. However the tools will be arranged by MoFA/Ethiopia
Basic Compatibility Checks
5 | High-level assessment of whether the application can run in the new environment
6 | Providing documentation or best practices for the migration
Troubleshooting Assistance - Limited
7 | Helping identify infrastructure-related issues if the application doesn’t work post-migration
8 | Logs or error message analysis (without debugging the app itself)
Best-Effort Guidance
9 | Answering queries related to migration approaches
10 | Referring to third-party documentation or experts
Activities Not Considered under RailTel's Scope
SI.No | Activities
1 | No rewriting or refactoring of application code
2 | No debugging or fixing of application-related issues.
3 | No OS related support based on application requirement
4 | No direct migration or installation of the application
5 | No direct migration or installation of the database

## Implementation Resources
SI.No | Resources | Qty | Months | Total Manmonths | Unit Price | Total Price
1 | Project Manager | 1 | 8 | 8 | 200000 | 1600000
2 | NON-IT Consultant | 1 | 2 | 2 | 300000 | 600000
3 | NON-IT Expert | 1 | 8 | 8 | 150000 | 1200000
4 | Implementation/Solution Lead | 1 | 3 | 3 | 300000 | 900000
5 | Network & Security expert | 1 | 4 | 4 | 200000 | 800000
6 | Compute Expert | 1 | 4 | 4 | 200000 | 800000
7 | Engineers | 2 | 8 | 16 | 100000 | 1600000
Salary with Insurance | [5 empty] | 7500000
Travel cost (15 Visits) | [5 empty] | 1500000
Accomadation , Local Travel, Food Expenses (50 Man Months) | [5 empty] | 5400000
Total cost during implementation | [5 empty] | 14400000

## Non-IT components Breakup (hidden)
Non-IT Services for Data Center (Approximate Breakup )
S. No. | Item Descriotion | UOM | Qty
1 | Civil and Interior works comprising of demolition works, construction of partition walls, Supply and installation of Fire rated doors, installation of vinyl flooring, DG foundation and miscellaneous works | Lot | 1
| Demolition works : Existing walls, Roads, Lightings , Window Grills, Doors, Vents, etc. Also include removal and dumping of debris as per local norms. | Ls | 1
| Construction of partition walls and Brick work and plastering for closing the Windows | Sft | 1076
| Anti-termite treatment for the wall and floors of the Data Center. | Sft | 3000
| Construction of DG foundation for 160 kVA | Ls | 1
| Construction of Ramp cum Pathway to the DG Set for providing Trolley movement up to DG Belly/ Skid tank. | Ls | 1
| Covering of Drainage pipes inside the proposed server and Electrical Rooms | Ls | 1
| Painting of all the partition walls and newly constructed walls | Sft | 2152
| Closure of windows/Vents available in DC area | Sft | 245.328
| Supply and installation of approximate 8 feet height fire rated doors | Nos. | 7
| Supply Installation of Anti-static Vinyl flooring | Sft | 1705
| Supply , fixing of Signages for Doors and Rooms. | Ls | 1
| Supplying and Fixing of Foundation Plate / Logos | Job | 1
| Laying of Hume pipes across road for cabling works | Mtrs | 6
| Manholes for the Underground cable paths. | Ls | 1
| Restoring the Roads after road cutting for underground cables. | Job | 1
| Construction of Platforms for outdoor Units of Air conditioning system. | Nos. | 6
| MS framing works for stacking of Outdoor AC units. | Nos. | 6
| Restoration of surrounding area tiles after earthing and cabling works. | Job | 1
| Cut-out on the partition walls for cable trays and it’s closures after laying the cables and copper pipes. | Job | 1
| Arrangements for Environments and Health safety, Personal Protective Equipment as per local norms. | Job | 1
| Clearing and cleaning of sites periodically and on completion of civil works which includes dumping of debris as per local norms. | Job | 1
| Additional Partition and Doors along with painting between two parts of the Server Hall. | LS | 1
2 | Supply and installation of furniture (console desk with storage space for PC/workstation and meadium back chairs) for NOC room | Nos. | 3
3 | Supply and installation of laminated worktable & chair for staging room | No. | 1
4 | Supply, installation, testing and commissioning of DG Set | No. | 1
| Supply of DG from India in packaged with AMF panel | No. | 1
| Re-assembling with silencer and exhaust pipes, Installation and commissioning of DG set at Site. | Ls | 1
| Warranty support from Local dealers of OEMs | Years | 3
| AMC support | Years | 3
| Spares for the immediate support and restoration | Ls | 1
| Diesel consumption during testing and commissioning. | Ltrs | 200
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of DG Set through staff training. | Job | 1
| Supply and fixing Signages for DG Area | Nos. | 4
5 | Supply, installation, testing and commissioning of 60 kVA UPS | Nos. | 2
| Supply of 3 phase in-line UPS with ≥0.96PF | Nos. | 2
| Supply of VRLA Batteries for 15mins backup with inter connectiving cables between batteries | Sets | 2
| Supply of battery circuit breakers | Sets | 2
| Supply of Cabling between UPS and Batteries | Sets | 2
| Supply of battery racks | Sets | 2
| Warranty support from Local dealers of OEMs | Years | 3
| AMC support | years | 3
| Spares for the immediate support and restoration | Job | 1
| Installation, testing and commissioning of UPS system | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of UPS through staff training. | Job | 1
6 | Supply, installation, testing and commissioning of Electrical Panels | Lot | 1
| Supply of Isolator panel | Set. | 1
| Supply of LT panels with inbuilt ATS, circuit breakers , energy meters,TVSS and space heaters | Nos. | 2
| Supply of UPS outgoing panels with circuit breakers for individual IT racks | Nos. | 2
| Supply of ATS for Raw power DB | No. | 1
| Supply of Raw power DBs | Nos. | 3
| Supply of UPS power DBs | Nos. | 3
| Warranty support from Local dealers of OEMs | Years | 3
| AMC support | Years | 3
| Spares for the immediate support and restoration | Job | 1
| Installation, testing and commissioning of elecrical panels | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of Electrical panels through staff training. | Job | 1
7 | Supply, installation and testing of Lighting system | Lot | 1
| Supply of LED light fixtures as per lux levels required | Nos. | 40
| Supply of supports for lighting fixtures | Ls | 1
| Supply of cables and conduits (considering 4 lights per circuit) | Ls | 1
| Supply of motion detection sensors | Nos. | 8
| Warranty support from Local dealers of OEMs | Years | 3
| AMC support | Years | 3
| Spares for the immediate support and restoration | Job | 1
| Istallation,testing and commissioning of lighting system includes chipping works | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
8 | Supply, installation, testing of Earthing system | Lot | 1
| Supply of copper earth rods | Nos. | 10
| Supply of Earthing chemical | Packets | 20
| Supply of Copper strips | Mtrs | 480
| Supply of GI strips | Mtrs | 120
| Supply of sleev cover for copper strips | Mtrs | 480
| Digging of earth pits | Nos. | 10
| Filling the chemical in pit with copper rods | Nos. | 10
| Connecting the field equipment to earthipits | Job | 1
| Grid earthipit connection | Job | 1
| Performing Earth resistance test | Job | 1
| Knowledge transfer regarding operation & Maintenance of earthpits through staff training. | Job | 1
9 | Supply of electrical safety aids | Lot | 1
| Supply of Rubber mats for electrical panels | Ls | 1
| Supply of electrical SLD, Do's and Don'ts and safety charts | Ls | 1
| Supply of rubber hand gloves and shock resistance shoes for operators | Sets | 2
| Supply of First aid kit | Sets | 2
| Installation of above mentioned equipment | Job | 1
10 | Supply and installation of Cabling system for Data Centre including electrical switches and power sockets | Lot | 1
| Supply of Electrical cabling as mentioned below: | Ls | 1
| Cabling between DG set and isolator | Ls | 1
| Cabling between Utility and isolator | Ls | 1
| Cabling between isolators and LT panels | Ls | 1
| Cabling between LT panel-1 to UPS-1 and LT panel-2 to UPS-2 | Ls | 1
| Cabling between UPS-1 to UPS outgoing panel-1 | Ls | 1
| Cabling between UPS-2 to UPS outgoing panel-2 | Ls | 1
| Cabling between LT panels and HVAC panel | Ls | 1
| Cabling between LT panels to all DBs | Ls | 1
| Cabling between each UPS outgoing panel to Each IT rack | Ls | 1
| Cabling between HVAC panel to each AC unit | Ls | 1
| Supply of cable trays/raceways and its support system | Ls | 1
| Supply of Switches and Sockets | Ls | 1
| Supply of Back boxes for switch and sockets | Ls | 1
| Supply of Conduits, couplers and saddles | Ls | 1
| Supply of termination Lugs & glands | Ls | 1
| Installation of above mentioned equipment | Ls | 1
11 | Supply and installation of Mobile industrial sockets for IT racks | Nos. | 22
| Supply of Mobile industrial plugs & sockets | Nos. | 22
| Installation/termination of Mobile industrial sockets | Nos. | 22
| Labelling of sockets | Job | 1
12 | Supply, installation, testing and commissioning of Inrow Cooling Units for the Server Room- 25kW | Nos. | 3
| Supply of inrow cooling units 25kW with dual power input with inbuilt sequencing capability and BMS interface | Nos. | 3
| Refrigerant Gas | Ls | 1
| Supply of copper piping | Ls | 1
| Supply of Outdoor unit stands | Ls | 1
| Supply of Insulation for the copper piping | Ls | 1
| Supply of Soft water inlet pipes with necessary valves and bends | Mtrs | 150
| Supply of drain water outlet pipes with necessary valves and bends | Mtrs | 100
| 200ltrs PVC tank for soft water storage for PACs with valves | Ls | 1
| Warranty support from Local dealers of OEMs | Years | 3
| AMC support | years | 3
| Spares for the immediate support and restoration | Job | 1
| Installation, testing and commissioning of IRCs | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of IRCs through staff training. | Job | 1
13 | Supply, installation, testing and commissioning of comfort air conditioning system for Battery Room, Telco Room, Staging Room, Electrical Room and NOC | Lot | 1
| Supply of Indoor (High wall unit/Cassette units) and Outdoor units | Nos. | 10
| Supply of Copper piping with supports | Ls | 1
| Supply of Insulation for copper piping | Ls | 1
| Refrigerent Gas | Ls | 1
| Supply of outdoor unit stands | Nos. | 10
| Supply of drain water outlet pipes with necessary valves and bends | Mtrs | 200
| Warranty support from Local dealers of OEMs | Years | 3
| AMC support | Years | 3
| Spares for the immediate support and restoration | Job | 1
| Installation, testing and commissioning of comfort AC system | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of ACs through staff training. | Job | 1
14 | Supply, Installation, testing and commissioning of sequencers for ACs in Server Room, Battery Room, Telco Room, Staging Room, Electrical Room | Nos. | 5
15 | Supply, installation, testing and commissioning of Fire Alarm System & VESDA | Lot | 1
| Supply of Fire Alarm Panel with loop card | No. | 1
| Supply of Multi criteria sensors | Nos. | 10
| Supply of Manual Call Points | Nos. | 4
| Supply of Hooter cum strobes | Nos. | 4
| Supply of Relay or control modules | Nos. | 12
| Supply of Monitor modules | Nos. | 4
| Supply of response indicators | Nos. | 5
| Supply of communication cable | Mtrs | 390
| Supply of VESDA panel | No. | `1
| Supply of Conduit for VESDA panel with supports | Mtrs | 40
| Supply of sampling points | Nos. | 4
| Three years Warranty support from Local dealers of OEMs | Years | 3
| Three Year AMC support | Years | 3
| Spares for the immediate support and restoration | Job | 1
| Design consumption during testing and commissioning. | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of FAS & VESDA through staff training. | Job | 1
16 | Supply, installation, testing and commissioning of clean agent based hand held fire extinguishers for Data Centre | Lot | 1
| Supply of clean agent cylinders | Nos. | 10
| Supply of wall mount brackets | Nos. | 10
| Installation of extinguishers | Nos. | 10
| Training on Sequence of Operating Procedure | Ls | 1
17 | Supply, installation, testing and commissioning of Gas based fire suppression system (NOVEC1230 or Equivalent for Server Room) | Lot | 1
| Supply of cylinders with NOVEC1230 or equivalent GAS | Kgs | 132
| Supply of Actuators | Nos. | 2
| Supply of 360 degrees nozzles | Nos. | 6
| Supply of MS piping and supports | Ls | 1
| Supply of Manifold | Sets | 1
| Supply of Gas release panel | No. | 1
| Supply of Hooters | No. | 1
| Supply of Abort switch | No. | 1
| Supply of Release switch | No. | 1
| Supply of Communication cable | Mtrs | 200
| Establing communication between Fire alarm system and Fire suppression system | Job | 1
| Warranty support from Local dealers of OEMs | Years | 3
| AMC support | Years | 3
| Spares for the immediate support and restoration | Job | 1
| Design consumption during testing and commissioning. | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of Fire suppression System through staff training. | Job | 1
18 | Supply, installation, testing and commissioning of Surveillance System | Lot | 1
| Supply of cameras | Nos. | 14
| Supply of NVR -16 channel with 30 days backup | Nos. | 1
| Supply of Switch- 24 port | Nos. | 1
| Supply of Network cable | Mtrs | 560
| Supply of conduits | Mtrs | 280
| Warranty support from Local dealers of OEMs | Years | 3
| AMC support | Years | 3
| Spares for the immediate support and restoration | Job | 1
| Design consumption during testing and commissioning. | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of Surveillance System through staff training. | Job | 1
19 | Supply, installation, testing and commissioning of Access control system | Lot | 1
| Supply of IP door controller- 2 door controller | Nos. | 3
| Supply of Biometric reader for Server room | No. | 1
| Supply of Smart card reader | Nos. | 6
| Supply of Push button | Nos. | 5
| Supply of Break glass unit | Nos. | 6
| Supply of Electro Magnetic locks with door position sensor | Nos. | 6
| Supply of commuication cable between field devices and controller | Mtrs | 240
| Warranty support from Local dealers of OEMs | Years | 3
| Three Year AMC support | Years | 3
| Spares for the immediate support and restoration | Job | 1
| Design consumption during testing and commissioning. | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of ACS through staff training. | Job | 1
20 | Supply, installation, testing and commissioning of Rodent Repellant System | Lot | 1
| Supply of RRS panel with wall mount brackets | Nos. | 1
| Supply of Transducers | Nos. | 15
| Supply of Communication cable | Mtrs | 150
| Supply of MS conduit with saddles | Mtrs | 150
| Warranty support from Local dealers of OEMs | Years | 3
| Spares for the immediate support and restoration | Job | 1
| Design consumption during testing and commissioning. | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of RRS through staff training. | Job | 1
21 | Supply, installation, testing and commissioning of Water leak detection system | Lot | 1
| Supply of Water detection panel-4 zone | No. | 1
| Supply of Sensing cable-15mtrs | Nos. | 2
| Supply of Hooter | No. | 1
| Warranty support from Local dealers of OEMs | Job | 1
| Spares for the immediate support and restoration | Job | 1
| Design consumption during testing and commissioning. | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of WLD through staff training. | Job | 1
22 | Supply, installation, testing and commissioning of BMS | Lot | 1
| Supply of BMS Software | Ls | 1
| Supply of DDCs for the below equipment: 1. DG set 2. UPS 3. Electrical Panel 4. IRCs 5. Fire Alarm System 6. Fire Suppression System 7. VESDA 8. ACS 9. RRS 10. WLD 11. Hydrogen Sensor 12. T&RH sensor | Ls | 1
| Supply of communication cable | Ls | 1
| Supply of T&RH sensor | Nos. | 12
| Warranty support from Local dealers of OEMs | Years | 3
| AMC support | Years | 3
| Spares for the immediate support and restoration | Job | 1
| Design consumption during testing and commissioning. | Job | 1
| Documentation and SoP development for Three year O&M | Job | 1
| Knowledge transfer regarding operation & Maintenance of BMS through staff training. | Job | 1
23 | Supply & Installation of Containment for the 8 racks with doors | Set | 1
| Supply of Polycarbonate sheet | Ls | 1
| Supply of Metal frame support for polycarbonate sheet | Ls | 1
| Supply of Swinging doors with handles | Ls | 1
| Installation of above mentioned equipment | Ls | 1
Total